## Wells
TID WELLS 2007 (Aug 14 - Aug 22)
TOTAL
| DATE | TIME | DATE | TIME |  |  | METER | METER | AF | STATIC | PUMPING
SITE | STARTED | STARTED | CHECKED | CHECKED | GPM | CFS | START | PRESENT | PUMPED | HEAD | HEAD
1 | 2007-08-14 | 6:15 | 2007-08-22 |  | 0 | 0 | 2528.35 | 2528.35 | 0 | 28.3 |  | Off
2 | 2007-08-14 | 6:30 | 2007-08-22 |  | 0 | 0 | 2970.66 | 3337 | 366.34 | 41.4 |  | Off
3 | 2007-08-14 | 6:45 | 2007-08-22 |  | 0 | 0 | 1866.22 | 2122.92 | 256.7 | 40.7 |  | Off
4 | 2007-08-14 | 6:55 | 2007-08-22 |  | 0 | 0 | 7276.46 | 7352.46 | 76 | 35.2 |  | Off
5 | 2007-08-14 | 7:05 | 2007-08-22 |  | 0 | 0 | 10798.98 | 10913.77 | 114.79 | 35.6 |  | Off
6 | 2007-08-14 | 7:15 | 2007-08-22 |  | 0 | 0 | 5731.37 | 5777.99 | 46.62 | 36.6 |  | Off
7 | 2007-08-14 | 7:40 | 2007-08-22 |  | 0 | 0 | 798.86 | 855.85 | 56.99 | 56.8 |  | Off
8 | 2007-08-14 | 8:20 | 2007-08-22 |  | 0 | 0 | 4017.08 | 4071.25 | 54.17 | 37.4 |  | Off
9 | 2007-08-14 | 8:00 | 2007-08-22 |  | 0 | 0 | 5411.32 | 5484.32 | 73 | 35 |  | Off
14 | 2007-08-14 | 9:05 | 2007-08-22 |  | 0 | 0 | 4242.81 | 4532.09 | 289.28 | 29 |  | Off
|  |  |  | TOTAL CFS |  | 0
|  |  |  | GROUND WATER PUMPED (Aug 14 - Aug 22) |  |  |  |  | 1333.89 | Acre Feet
|  |  |  | GROUND WATER PUMPED (Aug 7 - Aug 14) |  |  |  |  | 1742.75 | Acre Feet
|  |  |  | GROUND WATER PUMPED (Aug 1 - Aug 7) |  |  |  |  | 1874.62 | Acre Feet
|  |  |  | GROUND WATER PUMPED (Jul 24 - Aug 1) |  |  |  |  | 2368.83 | Acre Feet
|  |  |  | GROUND WATER PUMPED (Jul 17 - Jul 24) |  |  |  |  | 1465.2 | Acre Feet
|  |  |  | GROUND WATER PUMPED (Jul 11 - Jul 17) |  |  |  |  | 1214.74 | Acre Feet
|  |  |  | TOTAL PUMPED 2007 WATER ENHANCEMENT |  |  |  |  | 10000.03 | Acre Feet
|  |  |  | GROUND WATER PUMPED (Jul 3 - Jul 11) |  |  |  |  | 323.95 | Acre Feet
|  |  |  | GROUND WATER PUMPED (Jun 21 - Jul 3) |  |  |  |  | 611.6 | Acre Feet
|  |  |  | GROUND WATER PUMPED (Jun 6 - Jun 21) |  |  |  |  | 363.53 | Acre Feet
|  |  |  | GROUND WATER PUMPED (May 25 - Jun 6) |  |  |  |  | 396.71 | Acre Feet
|  |  |  | TOTAL PUMPED 2007 |  |  |  |  | 11695.82 | Acre Feet